Flux Tower Update:  March 12, 2006

(reported by E. Velasco)
Today is the first day for the AMS measurements.  Yesterday, Jose Jimenez set up the instrument and we started the aerosol flux measurements.

All other flux measurements are running well so far.

 

On Friday we installed the DOAS mirrors at the PEMEX Tower.  UCLA colleagues got some good measurements yesterday.  Unfortunately they cannot observe the third mirror located in the roof of the tower, so we are going to have to go back to move that mirror one meter.

The USD aerosol measurements are running very well.

Our PPAH sensor died.  So we are measuring only the active surface area at different heights.  

Attachment:  Groups_at_Flux_Tower_3_12_06_.xls
