Flux Tower Update:  March 5, 2006

(reported by Brian Lamb)

1. The tower systems located at the rooftop of the RAMA building are approximately 90% installed.  

2. The WSU group is collecting sonic/CO2/H2O data, but not in flux mode yet.  The GC for DEA sample analysis is ready to go, the FOS is running in standby, and the PTRMS is running in ambient mode from the rooftop.  
3. The UCLA group has the MAX-DOAS running and the long path instrument is ready, but waiting for the retro's to be mounted on March 6th. 
4. PNNL Aerosol Mass Spectrometer should arrive in Mexico City this coming week. 
5. The organic filter analysis system from UCSD/Scripps is running and the UNAM mini-vol PM sampler is also running.  

