Mobile Units Update (3-5-06)

1. Report from Ana Patricia Martinez: 

All 9 mobile units are in place and installed at the 9 sites.  RAMA has been running verifications and some instruments didn't pass the tests. Those instruments had been calibrated and RAMA will verify them again next week.
2. Report on UNAM unit at Tenango del Aire (from Gerardo Ruiz)
1. The UMAN mobile unit is up and recording all criteria pollutants and meteorological data since March 2nd. 

2. One data file was already feed to the data repository.

3. CH2O by Hantzsch method and the UV by Eppley radiometer are up and running.

4. Starting March 6, the other measurements will be set up: HNO3, H2O2, test for RO2, VOC sampling by cartridges and canisters. 

5. Other measurements may be added:  spectroradiometers, particle counters, particle samplers. 

3. Report from Bety Cardenas:

CENICA´s mobile Meteorological stations are operating at Huixquilucan (since February 28th) and Milpa Alta (since February 23rd).

